## Sheet1
Annexure 3: List of Projects supported by Climate Finance from 2014 to 2021
No | Location | Project Description | Installed PV Capacity (kWp) | Generator (kVa) | Installed Battery Capacity (kWhr) | Objective | Donor | Status | Starts | Ends | Executing Agency | Implementing Agency | Total Funding | Remarks
(USD/EUR/NZD)
FUNAFUTI
1 | Funafuti - TEC Compound (aluminium structure) Rooftop Hospital and Marine Warehouse | Solar Space Creation Project | 500 |  | Nil | To create space and reduce diesel consumption | UAE | Completed | 2015 | 2015 | MASDAR | TEC | USD 4,000,000
2 | Nukulaelae | Improving reliable access to modern energy services through solar PV systems for rural (outer islands) of Tuvalu | 45 | 114.7 | 586 | To reduce diesel oil consumption | EU | Completed | 2014 | 2015 | MPUI | TEC | EUR 1,857,000
3 | Nukufetau | Improving reliable access to modern energy services through solar PV systems for rural (outer islands) of Tuvalu | 87 | 180 | 1008 | To reduce diesel oil consumption | EU | Completed | 2014 | 2015 | MPUI | TEC | Included in above figure
4 | Nui | Improving reliable access to modern energy services through solar PV systems for rural (outer islands) of Tuvalu | 70 | 180 | 864 | To reduce diesel oil consumption | EU | Completed | 2014 | 2015 | MPUI | TEC | Included in above figure
5 | Vaitupu | Tuvalu Energy Project | 400 | 260 | 2880 | To reduce diesel oil consumption | NZ Aid | Completed | 2015 | 2015 | NZMFAT | TEC | NZD 20,000,000
6 | Niutao | Tuvalu Energy Project | 230 | 160 | 1728 | To reduce diesel oil consumption | NZ Aid | Completed | 2015 | 2015 | NZMFAT | TEC | Included in above figure
7 | Nanumaga | Tuvalu Energy Project | 205 | 160 | 1584 | To reduce diesel oil consumption | NZ Aid | Completed | 2015 | 2015 | NZMFAT | TEC | Included in above figure
8 | Nanumea | Tuvalu Energy Project | 195 | 160 | 1440 | To reduce diesel oil consumption | NZ Aid | Completed | 2015 | 2015 | NZMFAT | TEC | Included in above figure
9 | Rooftop- Govt. Building and Tuvalu Media building, Funafuti | Tuvalu Energy Project | 170 |  | Nil | To reduce diesel oil consumption | NZ Aid | Completed | 2015 | 2015 | NZMFAT | TEC | Included in above figure | Rooftop installation - 130kW Govt. building and 40kW Tuvalu Media building
10 | Amatuku-rooftop | Solar PV Hybrid System | 8 | 120 | 96 | To reduce diesel oil consumption | Finland | Completed | 2017 | 2017 | MPUI | TEC | USD 18,000
11 | Niulakita/Funafala | Solar Home Standalone (SHS) Systems and PV Cooling Storage Facility | 300Watts for home and 800Watts for refrigerator |  |  | To provide the resident with quality lighting and derive economic activities | Italy Govt. | Completed | 2017 | 2017 | MPUI | TEC | USD 300,000
PIPELINE PROJECTS
12 | Nukulaelae, Nukufetau, Nui and Funafuti | Increasing Access to Renewable Energy Project/Battery Replacement in the Outer Islands | Nukulaelae - 45kW, |  | Fun-3,500 | To increase PV and storage capacity at N/lae2,N/fetau, Nui and Funafuti | ADB | Going through the ADB approval processes | 2019 | 2023 | MPUI | TEC | USD 6,000,000 | Battery replacement will be Phase II of iAREP. Materials will start arriving in Tuvalu starting 2nd quarter.
Nukufetau - 78kW,
Nui - 100kW,
Funafuti - 500kW and
BESS 1MW/3.5MWH
13 | Funafuti | Tuvalu Energy Sector Development Project | 700kW PV, | 2250 | 2000 | To reduce diesel oil consumption and contributing to achieve Tuvalu 100% target by 2020 | World Bank | Contract signed and implementation 2020 | 2020 | Sept'2023 | MPUI | TEC | USD 9,100,000 | Some of the materials are in Tuvalu
BESS 1MW/2MWHr,
Prepayment meters etc
14 | Motufoua Secondary School, Vaitupu | Tuvalu Photovoltaic Electricity Netwrok Integration Project (TPENIP) Phase II | 70kW PV | 120 |  | To increase PV capacity to 90% | Italy | Recruit TA for feasibility study | 2018 |  | MPUI | TEC | USD 427,000 | Yet to start
15 | Funaota, Nukufetau | Solar Home Standalone (SHS) Systems and PV Cooling Storage Facility | 300W for home and 800W refrigerator |  |  | To provide resident with quality lighting and accelerate economic activities. | India UN Partnership Fund | Working on the design report | 2019 | 2022 | UNDP, Fiji | TEC | USD 213,151 | Commissioned in July 2022
ENERGY EFFICIENCY
1 | TEC Compound, Funafuti | RE and EE Demonstration Fale |  |  |  | To showcase most efficient appliance | SIDS Dock | Completed | 2016 | 2017 | SPREP | TEC | AUD 100,000
2 | Development Bank of Tuvalu, Funafuti | Subsidy Scheme |  |  |  | To replace inefficient appliances | Italy Govt | On-going | 2016 | On-going | IUCN | DBT
3 | All of Tuvalu | Prepayment Meters |  |  |  | To improve TEC cash flow and minimise bad debtors | World Bank | Yet to implement | 2018 | 2024 | WB | TEC | USD 750,000 | Items are stored at TEC storeroom
4 | Funafuti | Electric Motorcycles |  |  |  | A pilot project to reduce GHG emissions | World Bank | Completed | 2018 | 2023 | WB | TEC | USD 35,000 | Vehicles on Tuvalu road now
5 | Government Building, Funafuti | Window Tinting |  |  |  | To minimise the heat gains in the Govt. building | World Bank | Completed | 2018 | 2022 | WB | TEC | USD 200,000 | Phase I completed now Phase II-Items are stored at TEC storeroom